## Moisture
Soil Type | Water Added (ml) | Moisture R1 | Moisture R2 | Moisture R3 | Avg Moisture (%) | Std Dev | Soil Type | Water Added (ml) | Moisture R1 | Moisture R2 | Moisture R3 | Avg Moisture (%) | Std Dev | Soil Type | Water Added (ml) | Moisture R1 | Moisture R2 | Moisture R3 | Avg Moisture (%) | Std Dev
Soil A | 0 | 18 | 18 | 18 | 18 | 0 | Soil B | 0 | 22.3 | 22.4 | 22.5 | 22.4 | 0.1 | Soil C | 0 | 13.4 | 13.5 | 13.4 | 13.4333 | 0.057735
Soil A | 5 | 20.4 | 21.3 | 23.1 | 21.6 | 1.3748 | Soil B | 5 | 26.3 | 26.3 | 26.3 | 26.3 | 0 | Soil C | 5 | 17.6 | 17.8 | 18 | 17.8 | 0.2
Soil A | 10 | 26.8 | 27.6 | 27.7 | 27.3667 | 0.49329 | Soil B | 10 | 30.1 | 30.5 | 30.4 | 30.3333 | 0.20817 | Soil C | 10 | 21.1 | 21.2 | 21.2 | 21.1667 | 0.057735
Soil A | 15 | 33.4 | 34.7 | 35.2 | 34.4333 | 0.92916 | Soil B | 15 | 36.3 | 36.3 | 36.3 | 36.3 | 0 | Soil C | 15 | 23.5 | 23.5 | 23.5 | 23.5 | 0
Soil A | 20 | 38.6 | 41.7 | 41.7 | 40.6667 | 1.7898 | Soil B | 20 | 42.9 | 43.2 | 43.4 | 43.1667 | 0.25166 | Soil C | 20 | 28.6 | 29 | 29.1 | 28.9 | 0.26458
Soil A | 25 | 44.2 | 44.9 | 45.1 | 44.7333 | 0.47258 | Soil B | 25 | 45.1 | 45.7 | 45.9 | 45.5667 | 0.41633 | Soil C | 25 | 33.5 | 34.2 | 34 | 33.9 | 0.36056
Soil A | 30 | 49 | 49.2 | 49.2 | 49.1333 | 0.11547 | Soil B | 30 | 48.3 | 49 | 49 | 48.7667 | 0.40415 | Soil C | 30 | 38.1 | 37.4 | 37.4 | 37.6333 | 0.40415
Soil A | 35 | 51.3 | 52.1 | 51.7 | 51.7 | 0.4 | Soil B | 35 | 51.6 | 52.4 | 52.2 | 52.0667 | 0.41633 | Soil C | 35 | 43.1 | 43 | 43.4 | 43.1667 | 0.20817
Soil A | 40 | 54.1 | 53.9 | 54.7 | 54.2333 | 0.41633 | Soil B | 40 | 53.9 | 54.1 | 54 | 54 | 0.1 | Soil C | 40 | 48.5 | 49 | 49 | 48.8333 | 0.28868
Soil A | 45 | 56 | 55.9 | 56.2 | 56.0333 | 0.15275 | Soil B | 45 | 58.7 | 59.2 | 59.4 | 59.1 | 0.36056 | Soil C | 45 | 53.7 | 53.9 | 54.1 | 53.9 | 0.2
Soil A | 50 | 58.1 | 58.3 | 58.2 | 58.2 | 0.1 | Soil B | 50 | 59.4 | 59.4 | 59.4 | 59.4 | 0 | Soil C | 50 | 58.5 | 58.5 | 59 | 58.6667 | 0.28868
Soil A | 55 | 59.7 | 58.2 | 58.1 | 58.6667 | 0.89629 | Soil B | 55 | 59.9 | 60 | 60.3 | 60.0667 | 0.20817 | Soil C | 55 | 61.3 | 61.1 | 60.9 | 61.1 | 0.2
Soil A | 60 | 60.9 | 61 | 61.3 | 61.0667 | 0.20817 | Soil B | 60 | 60.5 | 60.5 | 61 | 60.6667 | 0.28868 | Soil C | 60 | 62.3 | 62.3 | 62.3 | 62.3 | 0
Soil A | 65 | 62.3 | 63.4 | 62.2 | 62.6333 | 0.66583 | Soil B | 65 | 61.2 | 61.4 | 61.6 | 61.4 | 0.2 | Soil C | 65 | 65.7 | 65.7 | 65.6 | 65.6667 | 0.057735
Soil A | 70 | 64 | 63.9 | 64 | 63.9667 | 0.057735 | Soil B | 70 | 62.6 | 62.7 | 62.7 | 62.6667 | 0.057735 | Soil C | 70 | 66.3 | 66.5 | 66.6 | 66.4667 | 0.15275
Soil A | 75 | 66.1 | 66.2 | 66.5 | 66.2667 | 0.20817 | Soil B | 75 | 63.3 | 63.5 | 63.7 | 63.5 | 0.2 | Soil C | 75 | 67.1 | 67.2 | 67.2 | 67.1667 | 0.057735
Soil A | 80 | 67.8 | 67.4 | 67.6 | 67.6 | 0.2 | Soil B | 80 | 64.6 | 64.6 | 64.6 | 64.6 | 0 | Soil C | 80 | 67.9 | 68 | 68 | 67.9667 | 0.057735
Soil A | 85 | 68.3 | 68.8 | 68.5 | 68.5333 | 0.25166 | Soil B | 85 | 64.7 | 64.8 | 64.9 | 64.8 | 0.1 | Soil C | 85 | 68.4 | 68.4 | 68.6 | 68.4667 | 0.11547
Soil A | 90 | 70.4 | 70 | 70.6 | 70.3333 | 0.30551 | Soil B | 90 | 65.2 | 65.2 | 65.2 | 65.2 | 0 | Soil C | 90 | 71.4 | 71.3 | 71 | 71.2333 | 0.20817
Soil A | 95 | 72.1 | 71.8 | 71.9 | 71.9333 | 0.15275 | Soil B | 95 | 65 | 64.9 | 64.8 | 64.9 | 0.1 | Soil C | 95 | 73 | 73 | 74 | 73.3333 | 0.57735
Soil A | 100 | 73 | 73 | 72.3 | 72.7667 | 0.40415 | Soil B | 100 | 65 | 64.8 | 64.8 | 64.8667 | 0.11547 | Soil C | 100 | 74.5 | 74.5 | 74.5 | 74.5 | 0
Soil A | 105 | 73.1 | 72.7 | 73 | 72.9333 | 0.20817 | Soil B | 105 | 65.1 | 64.9 | 65 | 65 | 0.1 | Soil C | 105 | 76 | 75.8 | 76 | 75.9333 | 0.11547
Soil A | 110 | 72.8 | 73 | 73.2 | 73 | 0.2 | Soil B | 110 | 65.3 | 64.9 | 65.2 | 65.1333 | 0.20817 | Soil C | 110 | 78 | 78 | 77.9 | 77.9667 | 0.057735
Soil A | 115 | 72.7 | 73.2 | 73 | 72.9667 | 0.25166 | Soil B | 115 | 65.2 | 64.8 | 65.1 | 65.0333 | 0.20817 | Soil C | 115 | 79.3 | 80 | 79.9 | 79.7333 | 0.37859
Soil A | 120 | 73 | 73 | 73.2 | 73.0667 | 0.11547 | Soil B | 120 | 65.2 | 65.3 | 65.4 | 65.3 | 0.1 | Soil C | 120 | 80.9 | 81 | 80.9 | 80.9333 | 0.057735
Soil A | 125 | 73.2 | 72.1 | 73 | 72.7667 | 0.58595 | Soil B | 125 | 65.1 | 65.2 | 65.3 | 65.2 | 0.1 | Soil C | 125 | 81 | 81.5 | 81 | 81.1667 | 0.28868
Soil A | 130 | 73 | 73 | 72.7 | 72.9 | 0.17321 | Soil B | 130 | 65.4 | 65.1 | 65 | 65.1667 | 0.20817 | Soil C | 130 | 81.3 | 81.3 | 81.3 | 81.3 | 0
Soil A | 135 | 72.7 | 73.1 | 72.9 | 72.9 | 0.2 | Soil B | 135 | 65.6 | 65.4 | 65.3 | 65.4333 | 0.15275 | Soil C | 135 | 81.2 | 81.1 | 81 | 81.1 | 0.1
Soil A | 140 | 72.9 | 73.2 | 73.1 | 73.0667 | 0.15275 | Soil B | 140 | 65.4 | 65.6 | 65.6 | 65.5333 | 0.11547 | Soil C | 140 | 81.6 | 81.5 | 81.2 | 81.4333 | 0.20817
Soil A | 145 | 72.6 | 73 | 72.9 | 72.8333 | 0.20817 | Soil B | 145 | 65.5 | 65.5 | 65.6 | 65.5333 | 0.057735 | Soil C | 145 | 82 | 81.3 | 81.4 | 81.5667 | 0.37859
Soil A | 150 | 72.7 | 72.7 | 72.9 | 72.7667 | 0.11547 | Soil B | 150 | 65.7 | 65.7 | 65.7 | 65.7 | 0 | Soil C | 150 | 82.6 | 82 | 82 | 82.2 | 0.34641
Soil A | 155 | 73 | 73 | 73.1 | 73.0333 | 0.057735 | Soil B | 155 | 65.3 | 65.6 | 65.7 | 65.5333 | 0.20817 | Soil C | 155 | 83.5 | 83.5 | 82.5 | 83.1667 | 0.57735
Soil A | 160 | 73 | 73.7 | 72.9 | 73.2 | 0.43589 | Soil B | 160 | 65.6 | 65.4 | 65.4 | 65.4667 | 0.11547 | Soil C | 160 | 83.9 | 84 | 83.6 | 83.8333 | 0.20817
Soil A | 165 | 73.4 | 73.2 | 73.1 | 73.2333 | 0.15275 | Soil B | 165 | 65.6 | 65.5 | 65.6 | 65.5667 | 0.057735 | Soil C | 165 | 84.8 | 85 | 85 | 84.9333 | 0.11547
Soil A | 170 | 73.7 | 73 | 73.2 | 73.3 | 0.36056 | Soil B | 170 | 65.7 | 65.7 | 65.5 | 65.6333 | 0.11547 | Soil C | 170 | 85 | 84.9 | 85 | 84.9667 | 0.057735
Soil A | 175 | 73.2 | 73.1 | 73 | 73.1 | 0.1 | Soil B | 175 | 65.4 | 65.8 | 65.7 | 65.6333 | 0.20817 | Soil C | 175 | 84.3 | 84.3 | 84.3 | 84.3 | 0
Soil A | 180 | 73 | 73.2 | 73.3 | 73.1667 | 0.15275 | Soil B | 180 | 65.6 | 65.3 | 65.6 | 65.5 | 0.17321 | Soil C | 180 | 86.1 | 86 | 85 | 85.7 | 0.60828
Soil A | 185 | 73.4 | 73.2 | 73.4 | 73.3333 | 0.11547 | Soil B | 185 | 65.5 | 65.6 | 65.4 | 65.5 | 0.1 | Soil C | 185 | 87 | 86.5 | 88 | 87.1667 | 0.76376
Soil A | 190 | 73.7 | 73.6 | 73.4 | 73.5667 | 0.15275 | Soil B | 190 | 65.7 | 65.6 | 65.5 | 65.6 | 0.1 | Soil C | 190 | 88.8 | 89 | 88 | 88.6 | 0.52915
Soil A | 195 | 74.1 | 74 | 74.2 | 74.1 | 0.1 | Soil B | 195 | 65.8 | 65.7 | 65.7 | 65.7333 | 0.057735 | Soil C | 195 | 90 | 91 | 91 | 90.6667 | 0.57735
Soil A | 200 | 74.5 | 74 | 74 | 74.1667 | 0.28868 | Soil B | 200 | 65.8 | 65.6 | 65.7 | 65.7 | 0.1 | Soil C | 200 | 91.7 | 91 | 90.9 | 91.2 | 0.43589
Soft soil | [6 empty] | Stony soil | [6 empty] | Compost

## Temperature
Soil Type | Condition | Temp R1 (°C) | Temp R2 (°C) | Temp R3 (°C) | Avg Temp (°C) | Std Dev
Soil A | Room Temp
Soil A | Warmed
Soil B | Room Temp
Soil B | Warmed
Soil C | Room Temp
Soil C | Warmed

## pH & EC
Soil Type | Condition | pH R1 | pH R2 | pH R3 | Avg pH | pH Std Dev | EC R1 (µS/cm) | EC R2 (µS/cm) | EC R3 (µS/cm) | Avg EC | EC Std Dev
Soil A | Dry
Soil A | Wet
Soil B | Dry
Soil B | Wet
Soil C | Dry
Soil C | Wet

## Nitrogen
Soil Type | Nitrogen Level (mg/kg) | Nitrogen R1 | Nitrogen R2 | Nitrogen R3 | Avg Nitrogen | Nitrogen Std Dev
Soil A | 0
Soil A | 50
Soil A | 100
Soil A | 150
Soil A | 200
Soil B | 0
Soil B | 50
Soil B | 100
Soil B | 150
Soil B | 200
Soil C | 0
Soil C | 50
Soil C | 100
Soil C | 150
Soil C | 200

## Phosphorus
Soil Type | Phosphorus Level (mg/kg) | Phosphorus R1 | Phosphorus R2 | Phosphorus R3 | Avg Phosphorus | Phosphorus Std Dev
Soil A | 0
Soil A | 50
Soil A | 100
Soil A | 150
Soil A | 200
Soil B | 0
Soil B | 50
Soil B | 100
Soil B | 150
Soil B | 200
Soil C | 0
Soil C | 50
Soil C | 100
Soil C | 150
Soil C | 200

## Potassium
Soil Type | Potassium Level (mg/kg) | Potassium R1 | Potassium R2 | Potassium R3 | Avg Potassium | Potassium Std Dev
Soil A | 0
Soil A | 50
Soil A | 100
Soil A | 150
Soil A | 200
Soil B | 0
Soil B | 50
Soil B | 100
Soil B | 150
Soil B | 200
Soil C | 0
Soil C | 50
Soil C | 100
Soil C | 150
Soil C | 200